PRE-DELIVERY CHECKLIST – BULK PRODUCT

Place a "√ " to indicate YES or a "X" to indicate NO.

FOR ALL deliveries, complete Q 1-12 & Q18

For Above Ground tanks or Rail, complete Q 13-17.

| Date: | Shipment No: | Driver Name: |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Deliver/Ship to: | Supply from: | Signature: |  |  |  |  |
| Ship to: Name & Location | Plant: Name & Location | Product Tank No |  |  |  |  |
|  |  |  | T1 | T2 | T3 | T4 |
| 1. Is the site safe to enter? If no do not proceed onto site. Answer NO for all tanks T1 - T4 and answer NO for Q 18. Contact your supervisor for instructions or a redirection. |  |  |  |  |  |  |
| 2. Can you exit the site safely, in the case of an emergency? |  |  |  |  |  |  |
| 3. When reversing is required, can this be done safely? |  |  |  |  |  |  |
| 4. Is access to the delivery area clear and free from slip/trip or potential hazards? |  |  |  |  |  |  |
| 5. Can the work area be secured to limit exposure to ignition sources, pedestrians or vehicles? |  |  |  |  |  |  |
| 6. Is the placement and use of protective barriers, safety cones or assistance in place, to allow for the safe dipping and transfer of product into the tank? |  |  |  |  |  |  |
| 7. Is the tank and delivery area well ventilated and free from any ignition sources? |  |  |  |  |  |  |
| 8. Do you have adequate working clearance from overhead power lines in the work area that you need to access, at least 5 metres? |  |  |  |  |  |  |
| 9. Is the tank, dip and fill points clearly marked with correct product ID? |  |  |  |  |  |  |
| 10. Is the safe fill level identified? |  |  |  |  |  |  |
| 11. Are all hose connection points visible during delivery of bulk product? |  |  |  |  |  |  |
| 12. Is your spill kit in a readily accessible position and equipped to protect from a spill? Consider the most likely direction of product flow and catchment areas eg: storm water drains, pits etc (if not sure – ask customer) |  |  |  |  |  |  |
| ASSOCIATED RISKS FOR ABOVE GROUND TANKS OR RAIL VEHICLES THAT MUST BE IDENTIFIED |  |  |  |  |  |  |
| 13. AG tank – Is the ladder safe to climb with an adequate foothold/platform and securely fitted to give safe reachable access to fill/dip points? |  |  |  |  |  |  |
| 14. AG tank – Are tank bracing and supports stable, not buckled and free from significant corrosion? |  |  |  |  |  |  |
| 15. AG tank – Are the tank footings adequate and in good condition? |  |  |  |  |  |  |
| 16. For Rail Vehicle – is it located in the designated fuel point? If No, do you have authorization to perform this delivery? |  |  |  |  |  |  |
| 17. For Rail Vehicle – is it secured by a rail lock out system? |  |  |  |  |  |  |
| 18. Based on any other conditions for this tank/s site, not addressed in questions 1 – 17, can this delivery be made safely? |  |  |  |  |  |  |
| * If you have answered with a "X" (NO) to any of the above questions 1 – 18, DO NOT deliver. Place an “out of service” tag on tank/s if applicable and commence delivery to next safe tank or rail vehicle or delivery. If still unsure contact your supervisor. * Please comment below on any questions marked with an "X". |  |  |  |  |  |  |
| Record any additional or special site conditions you would like reported for corrective action by the customer: |  |  |  |  |  |  |

Out of service tag fitted (Y/N):		TIME:		SIGNATURE:

Pre-Delivery Checklist must be attached to delivery documentation.